Title 33

ENVIRONMENTAL QUALITY

Part III. Air Chapter 21.	Control of Emission of Organic Compounds Subchapter F.	Gasoline Handling

§2132.	Stage II Vapor Recovery Systems for Control of Vehicle Refueling Emissions at Gasoline Dispensing Facilities

A. — J.2.	…

3.	An existing facility with stage II vapor recovery equipment shallmay

complete decommissioning of the stage II equipment no later than 18 months from at any time

after EPA approval of the SIP revision in Paragraph 1 of this Subsection. The failure to properly

and timely decommission a stage II vapor recovery system in accordance with this Subsection shall beis a violation of the Act and these regulations and may be subject to an enforcement

action, which may include requiring decommissioning of the stage II vapor recovery system

and/or the prohibition of the sale/dispensing of gasoline at the facilitypenalties as indicated in

LAC 33:III.2132.H.1. Once the decommission of the stage II vapor recovery system has been

completed in accordance with this Subsection, the facility is no longer subject to the

requirements of this Section, except to comply with notifications, procedures, and recordkeeping associated with decommissioning.

J.4. — J.4.e.ii.	…

AUTHORITY NOTE:	Promulgated in accordance with R.S. 30:2054.

HISTORICAL NOTE:	Promulgated by the Department of Environmental Quality, Office of Air Quality and Radiation Protection, Air Quality Division, LR 18:1254 (November 1992), repromulgated LR 19:46 (January 1993), amended LR 23:1682 (December 1997), LR 24:25 (January 1998), amended by the Office of Environmental Assessment, Environmental Planning Division, LR 26:2453 (November 2000), LR 29:558 (April 2003), amended by the Office of the Secretary, Legal Affairs Division, LR 31:2440 (October 2005), LR 33:2086 (October 2007), LR

34:1890 (September 2008), LR 34:2397 (November 2008), LR 37:1147 (April 2011), amended by the Office of the Secretary, Legal Division, LR 38:2752 (November 2012), amended by the Office of the Secretary, Legal Affairs and Criminal Investigations Division, LR 43:2138 (November 2017), LR 44:1242 (July 2018), amended by the Office of the Secretary, Legal Affairs Division, LR 51: